## Slide 1: Molecular Biology & Proteomics Mass Spectrometry In Proteomics, Two-dimensional Gel Electrophoresis, Proteomics Applications And Biomarker Discovery Lecture 1
Name of teacher Dr. Ahmad H. Ibrahim
Molecular Biology & Proteomics
course code: PHAR 338
st Semester / 11& 12th week 17.1.2023

## Slide 2: “Proteomics”
This Lecture will give an introduction to the available proteomic technologies and the data mining tools.
Theme:
Mass spectrometry in proteomics
Two-dimensional gel electrophoresis
Proteomics Applications and Biomarker discovery,

## Slide 3: Outline
Protein Identification and Expression Profiling:
  Identification of as many proteins as possible in a given sample.
  Protein expression profiling involves recognizing proteins in a sample based on the specific state of the organism or cell.
  Functional proteomics includes protein quantitation or differential analysis.
Structural Proteomics:
  Focuses on post-translational modifications, understanding how and where proteins are modified.
  Examines protein-protein interactions and maps protein networks.
Tools of Proteomics:
  Protein separation technology is used to simplify complex protein mixtures.
  Mass spectrometry (MS) provides accurate molecular mass measurements of intact proteins and peptides.
  Databases and software collections match MS data with specific protein sequences.

## Slide 4: Outline
Proteome Dynamics:
  The proteome in a cell represents a subset of all possible gene products.
  Proteome composition varies between different cells, tissue types, and growth stages.
  Environmental factors, diseases, drugs, stress, and growth conditions influence the proteome.
Cycle of Proteins:
  Proteins undergo a life cycle involving folding, translocation, post-translational processing, and degradation.
  Damage to proteins can occur through processes like proteolytic cleavage, acylation, methylation, phosphorylation, and others.
Molecular Structures and Functional Families:
  Proteins have primary, secondary, tertiary, and quaternary structures.
  Amino acids exhibit preferences for specific structural conformations.
  Proteins are organized into motifs, domains, and functional families.
Sequence Alignment and Structural Motifs:
  Sequence alignment helps arrange primary sequences based on shared properties.
  Structural alignment identifies significant structural motifs.
  Motifs and domains confer unique functions and properties to proteins.

## Slide 5: Outline
Protein Family Classification:
  Proteins are grouped into functional families based on their related functions.
  Protein family classification databases include PROSITE, Pfam, and SMART.
Proteome Complexity and Protein Heterogeneity:
  Genomic sequences influence proteome complexity.
  Protein heterogeneity involves various modification forms, and a single protein may carry several modifications.
Expression Profiling and Genomic Sequencing:
  Codon bias and transcription rates influence protein expression.
  Expression profiling identifies genes expressed in specific cells under particular conditions.
Proteomics Analysis Workflow:
  Separation techniques, enrichment/fractionation, and protein extraction are crucial steps.
  Protein digestion is essential for accurate mass measurements and sensitivity in mass spectrometry.

## Slide 6: Objectives
Understand the key principles of protein identification and expression profiling.
2. Explore the tools and techniques employed in structural proteomics.
3. Examine the dynamic nature of the proteome in different cells and under various conditions.
4. Comprehend the life cycle of proteins, including folding, modification, and degradation.

## Slide 7: Objectives
5. Gain insights into molecular structures, functional families, and the significance of motifs and domains.
6. Learn about sequence alignment, structural motifs, and protein family classification.
7. Understand proteome complexity, protein heterogeneity, and the influence of genomic sequences.

## Slide 8: Objectives
8. Explore the role of expression profiling and genomic sequencing in proteomics analysis.
9. Familiarize oneself with the workflow of proteomics analysis, including separation techniques and protein extraction.
Understanding Gel Electrophoresis:
Grasping the classical process of gel electrophoresis.
Learning about its high resolving power for visualizing protein forms.
Quantitative Analysis:
Understanding the use of gel electrophoresis for quantitative analysis of proteins.
Identifying proteins within the proteome.
Post-translational Modifications:
Recognizing the capability of gel electrophoresis in detecting post-translational modifications of proteins.
Protein Fixing and Staining:
Learning various protein fixing, staining, and blotting methods used in gel electrophoresis.
Isoelectric Point (pI):
Understanding the concept of the isoelectric point (pI) and its significance in protein charge.
2D Gel Electrophoresis:
Grasping the principles of 2D gel electrophoresis, including Isoelectric Focusing (IEF) and limitations.
Exploring advanced techniques like Preparative IEF and 2D Fluorescence Difference Gel Electrophoresis (DIGE).
Multidimensional HPLC and Mass Spectrometry (MS):
Understanding the role of separation techniques and fractionation in protein analysis.
Grasping the principles of mass spectrometry for accurate molecular mass measurements and protein identification.
Mass Spectrometry Techniques:
Learning about various mass spectrometry techniques, including MALDI and ESI.
Understanding the principles of Time of Flight (TOF), Quadrupole, and Ion Trap mass analyzers.
MS/MS and Protein Identification:
Understanding tandem MS analysis and associated terminology.
Grasping the concept of hybrid instruments and protein identification using cross-correlation algorithms.
SELDI (Surface Enhanced Laser Desorption Ionization):
Understanding the principles of SELDI as a combination of chromatography and MALDI-TOF MS.
Recognizing its advantages, such as small sample requirements and quick protein mapping.

## Slide 9: “-ome”
DNA
Genome “Genomics”
Proteins
Cell functions
Proteome “Proteomics”
DNA sequencing
cDNA arrays
2D PAGE, HPLC
CGTCCAACTGACGTCTACAAGTTCCTAAGCT
RNA
Transcriptome
Reactome, the chemical reactions involving a nucleotide

## Slide 10: Protein Chemistry/Proteomics
Protein Chemistry
  Individual proteins
  Complete sequence analysis
  Emphasis on structure and function
  Structural biology
Proteomics
  Complex mixtures
  Partial sequence analysis
  Emphasis in identification by database matching
  System biology

## Slide 11
Proteins are the mediators of functions in the cell
Deviations from normal status denotes disease
Proteins are drug/therapeutic targets
Why are we studying proteins?

## Slide 12
How to select proteome?
A proteome is defined by the state of the organism, tissue, or cell that produces it.
Because these states are constantly changing, so are the proteomes.
Example of proteomes:
different kind of cells; liver, …
extracellular fluids; blood plasma, urine, CSF…

## Slide 13: What are the Applications for Proteomics?
Systems biology - understand cell-pathways, network, and complex interacting.
Biological processes - characterize sub-proteomes such as protein complexes, cellular machines, organelles
Biomarkers - discovery of disease (serological, urine, other biological fluids) - diagnostics, treat patients, monitor therapies
Drug targets - evaluate toxicity & other biological or pharmaceutical parameters associated with drug treatment

## Slide 14: Strategy for Biomarker Discovery
Large # samples
Small # candidates
Discovery
Candidate gene
Validation
in situ hybridization Immunohistochemistry
Application
Disease vs. Normal
Proteomic analysis
(2D gels / MS)
Genomic analysis
mRNA level
Diagnostic
Therapeutic
Clinical Application
Prognostic

## Slide 15: Proteins as biomarkers
Proteins are closer to the actual disease process, in most cases, than parent genes
Proteins are ultimate regulators of cellular function
Most cancer markers are proteins
The vast majority of drug targets are proteins
The protein composition may be associated with disease processes in the organism and thus have potential utility as diagnostic markers.
Individual biomarkers are not sufficient for accurate disease detection
Panel of biomarkers should be established

## Slide 16: Benefits of Molecular Diagnostics
Create new cancer screening tools
Inform design of new treatments
Monitor treatment effectiveness
Predict patient’s response to treatment
MS
proteins
Patient’s blood sample
Ovarian pattern

## Slide 17: From known samples to serum proteins
MS
MS
proteins
proteins
cancer
no cancer
Early diagnosis
of disease
Early warning
of toxicity
Protein patterns
Patterns as screening tool

## Slide 18: Proteomics in nutrition of food
Development of fingerprinting techniques to identify changes in modified organisms at different integration levels (2D gels, MALDI) MALDI-MS).

## Slide 19: Identification of unintended side effects
Isolation of protein spots
16 proteins
Peptide mapping
MALDI-TOF analysis
Amino acid sequence
Data base
A proteome analysis of livers from mice traeted with WY14.643
Liver proteins from control
Proteins from animals after treatment
Protein identified

## Slide 20
Identification of breast cancer biomarkers by iCAT LC-MS

## Slide 21: Biomarker Discovery
Markers can be easily found by comparing protein maps.
SELDI is faster and more reproducible than 2D PAGE.
Has been used to discover protein biomarkers of diseases such as ovarian cancer, breast cancer, prostate and bladder cancers.

## Slide 22: Protein Profiling
2D gel electrophoresis
Difference gel electrophoresis (DIGE)
LC-MS/MS using coded affinity tagging
(ICAT, iTrac, SILAC..)
ProteinChip Array (SELDI analysis)
Antibody arrays
Measure the expression of a set of proteins in two samples and compare them - Comparative proteomics

## Slide 23: Laser-Capture Micro dissection, LMC
Technique for selectively sampling certain cells within a tissue
Biopsy
Transfer film
Glass slide
Genomic/proteomic analysis
Tissue sample
Laser beam activates film
Selected cells are transferred
Tumor
Cells

## Slide 24: 2D gels, DIGE
High resolving power
Absolute / relative quantity
Easily archived for further comparison
Detects some PTMs and alternatives splices
Low troughput
Poor detection of large, acidic, basic and membrane proteins
Only high abundance proteins
Coomassie blue stained gels
Silver stained

## Slide 25: DIGE
Proteins are labeled prior to running the first dimension with up to three different fluorescent cyanide dyes
Mix labeled extracts
Internal standard
Allows use of an internal standard in each gel-to-gel variation, reduces the number of gels to be run
Adds 500 Da to the protein labeled
Additional post-electrophoretic staining needed

## Slide 26: Human brain proteins
Differences in Expression Level in Thalamus
Control
phosphoglycerate mutase
phosphoglycerate mutase
Alzheimer’s Disease
phosphoglycerate mutase
phosphoglycerate mutase

## Slide 27: Example of different expression

## Slide 28: Proteomics Applications
PROTEOMICS
Proteome Mining
Identifying as many as possible of the proteins in your sample
Protein Expression Profiling
Identification of proteins in a particular sample as a function of a particular state of the organism or cell
Functional proteomics
Post-translational modifications
Identifying how and where the proteins are modified
Protein-protein interactions Protein-network mapping
Determining how the proteins interact with each other in living systems
Structural Proteomics
Protein quantitation or differential analysis
Notes: From Graves and Haystead, 2002

## Slide 29: Tools of Proteomics
Protein separation technology
  Simplify complex protein mixtures
  Target specific proteins for analysis
Mass spectrometry (MS)
  Provide accurate molecular mass measurements of intact proteins and peptides
Database
  Protein, EST, and complete genome sequence databases
Software collection
  Match the MS data with specific protein sequences in databases

## Slide 30: The Proteome
Cycle of Proteins
Proteins as Modular Structures – motifs, domains
Functional Families
Genomic Sequences
Protein Expression /Protein level
The proteome in any cell represents a subset of all possible gene products
Not all the genes are expressed in all the cells.
It will vary in different cells and tissue types in the same organism and between different growth and developmental stages
The proteome is dependent on environmental factors, disease, drugs, stress, growth conditions.

## Slide 31: Life cycle of a protein
Information found in DNA is used for synthesis of the proteins
mRNA
Protein
Proteolytic Cleaveage
Acylation
Methylation
Phosphorylation
Sulfation
Selenoproteins
Ubiquination
Glycolisation
Translocation
Damage
-free radicals
Degradation
Environmental
-chemicals
radioactiivty
Posttranslational Processing
to specific subcellular or extracellular compartments
Folding

## Slide 32: Molecular Structures
-helices
-sheets
Primary structure a chain of amino acids
Secondary structure three dimensional form, formally defined by the hydrogen bonds of the polymer
Amino acids vary in their ability to form the various secondary structure elements.
Confer similar properties or functions when they occur in a variety of proteins
Amino acids that prefer to adopt helical conformations in proteins include methionine, alanine, leucine, glutamate and lysine ("MALEK" in amino acid 1-letter codes)
The large aromatic residues (tryptophan, tyrosine and phenylalanine) and Cβ-branched amino acids (isoleucine, valine and threonine) prefer to adopt -strand conformations.

## Slide 33: Sequence alignment
A software tool used for general sequences alignment tasks is ClustalW
The degree of relatedness, similarity between the sequences is predicted computationally or statistically
Sequence alignment is a way of arranging primary sequences (of DNA, RNA, or proteins) in such a way as to align areas sharing common properties.

## Slide 34: ClustalW

## Slide 35: BLAST
It is used to compare a novel sequence with those contained in nucleotide and protein data bases by aligning the novel sequence with the previously characterized genes.
The emphasis of this tools is to find regions of sequence similarity, which will yield functional and evolutionary clues about the structure and function of this novel sequence.
Basic Local Alignment Search Tool
NCBI BLAST
http://www.ncbi.nlm.nih.gov/BLAST/

## Slide 39: Molecular Structures / Functional Families
Tertiary structure the overall shape of the protein (fold)
the process by which a protein assumes its characteristic function
The three-dimensional shape of the proteins might be critical to their function. For example, specific binding sites for substrates on enzymes
Specific sequences that also confer unique properties and functions, motifs or domains
Quaternary structure -formation usually involves the "assembly" or "coassembly" of subunits that have already folded
Incorrectly folded proteins are responsible for illnesses such as Creutfeltdt_Jakob disease and Bovine spongiform encephalopathy (mad cow disease), and amyloid related illnesses such as Alzheimer’s.

## Slide 40: Domains / Motifs
Structural alignment: a method for discovering significant structural motifs.
-Based on comparison of shape
Structural alignment of thioredoxins from humans (red)and the fly Drosphila melangaster (yellow).
Motifs: short conserved sequences, which appear in a variety of other molecules.
Domains: part of the sequence that appear as conserved
modules in proteins that are not related, in global terms.
Usually with a distinct three dimensional fold, carrying a unique function and appearing in different proteins
Repeats: structurally or functionally interdependent modules.

## Slide 41: Functional families
Protein family classification databases:
PROSITE. Database of protein families and domain, defined by patterns and profiles, at ExPASY. http://au.expasy.org/prosite/
Pfam. Multiple sequence alignments and HMMs of protein domains and families, at Sanger Institute. http://www.sanger.ac.uk/Software/Pfam/help/index.shtml
SMART Simple Modular Architecture Research Tool, at EMBL. http://smart.embl-heidelberg.de/
By associating a novel protein with a protein family, one can predict the function of the novel protein
Domains are clustered into families in which significant sequence similarity is detected as well as conservation of biochemical activity.
SCOP-a structural classification of proteins
Proteins can be grouped into functional families; proteins that carry out related functions
Structural
Signaling pathways
Metabolic
Transportation

## Slide 42: Protein function chart

## Slide 43
A Pseudo-Rotational Online Service and Interactive Tool

## Slide 44: Pfam

## Slide 46: STRING
http://string.embl.de

## Slide 47: BOND
Biomolecular Object Network Databank
http://bond.unleashedinformatics.com

## Slide 48: Database of Interacting Proteins
The DIP database catalogs experimentally determined interactions between proteins. It combines information from a variety of sources to create a single, consistent set of protein-protein interactions.
http://dip.doe-mbi.ucla.edu/

## Slide 49: ihop
http://www.ihop-net.org/UniPub/iHOP/

## Slide 50
Sequence
Threading
Sequence-Structure-Function
Structure more conserved than sequence
Structure
Function
Threading techniques try to match a target sequence on a library of known three-dimensional structures by “threading” the target sequence over the known coordinates.
In this manner, threading tries to predict the three-dimensional structure starting from a given protein sequence. It is sometimes successful when comparisons based on sequences or sequence profiles alone fail to a too low similarity.
Homology searching (BLAST)

## Slide 51: Genomic sequencing/ Protein level
Genome size (bp)
5.386
580.000
12,1  106
3,2  109
90  109
670  109
Mycoplasma genitalium
Yeast (S. Cerevisiae)
X-174 virus
Human
Lilium longiflorum
Amoeba dubia
Biological complexity does not come simply from greater number of genes.
complexity

## Slide 52: Complexity

## Slide 53: Proteome complexity

## Slide 54: Protein Heterogeneity
More than 100 modification forms known
A single protein may carry several modifications
Modified proteins show different properties compared to
unmodified counterparts
In most cases, we do not know the origin or the biological
significance of the observed heterogeneities
Much larger number of spots compared to protein species they represent
H.influenza : 1500 spots 500 different proteins

## Slide 55: 2D gel image of brain proteins
4.5
pI
Electrophoresis, 1999, 20 (14) 2970
g-enolase
About 3000 Spots after Coomassie Stain
Partial 2D-gel images showing g-enolase from human brain. The protein is represented by one spot when IEF was performed on pH 3-10 non-linear IPG strips (A),
and by six spots when IEF was performed on pH 4-7 strips (B).
Increased Resolution and Detection of
More Spots with the Use of Narrow pH
Gradient Strips
A
B

## Slide 56
Taken from http://www.lcb.uu.se/course by 15.12.2023

## Slide 57: Genomic sequencing
Paralogues are similar sequences within a single organism that have arisen due to a gene duplication event.
Homologues are similar sequences in two different organisms that have been derived from a common ancestor sequence.
Orthologues are similar sequences in two different organisms that have arisen due to a speciation event.

## Slide 58: Pattern / Profile
Pattern –conserved sequence of a few amino acids
identify various important sites within protein
Enzyme catalytic site
Prosthetic group attachment
Metal ion binding site
Cysteines for disulphide bonds
Protein or molecular binding
Profile a multiple alignment with matrix frequencies- describe protein families or domains conserved in sequence.
Score-based representations
Position-specific scoring matrix (PSSM)
Hidden Markov model (HMM)
Database: PROSITE Patterns
Patterns and Profiles are used to search for motifs/ domains of biological significance that characterize protein family

## Slide 59: Protein level
Codon bias- the tendency of an organism to prefer certain codons over others that code for the same amino acid in the gene sequence.
The level of any protein in a cell at a given time:
  Transcription rate
  Efficiency of translation in the cell
  The rate of degradation of the protein
Larger genomes have larger gene families (the average family size also increases with genome size)

## Slide 60: Protein expression
Protein
It consists of the stages after DNA has been translated Amino acid chains chains which is ultimately folded into proteins
Expression profiling what genes are expressed in a particular cell type of an organism, at a particular time, under particular conditions? As the expression of many genes is known to be regulated after transcription, an increase in mRNA concentration need not always increase expression

## Slide 61: General workflow of proteomics analysis
ESI-MS
Electrospray Ionization tandem MS
MALDI-TOF
Matrix Assisted Laser Desorption Ionization –Time of Flight
proteins
digestion
separation
MALDI, MS/MS
digestion
peptides
(LC)-MS/MS
Identification

## Slide 62: Separation of Protein Mixtures
The less complex a mixture of proteins is, the better chance we have to identify more proteins.
Detergents
Reductants
Denaturing agents
Enzymes
digestion

## Slide 63: Separation techniques
1D- and 2D-SDS PAGE
Preparative IEF isoelectric focusing
HPLC
Separating intact proteins to take advantage of their diversity in physical properties
Separation techniques for peptides
MS-MS
HPLC (MudPIT)
SELDI
Separation techniques used with intact proteins
Differential display proteomics
Difference gel electrophoresis (DIGE)
Isotope-coded affinity tagging (ICAT)

## Slide 64
Enrichment from larger volumes
Selective precipitation
Selective centrifugation
Preparative approaches
Combination of 2DE with LC
Multi-dimensional LC
Enrichment /Fractionation
For the detection of low-abundance proteins, a separation of complex mixtures into fractions with fewer components is necessary

## Slide 65: Protein extraction
Detergents: solubilize membrane proteins-separation from lipids
Reductants: Reduce S-S bonds
Denaturing agents: Disrupt protein-protein interactions-unfold proteins
Enzymes: Digest contaminating molecules (nucleic acids etc)
Protease inhibitors
Aim: High recovery-low contamination-compatibility with separation method

## Slide 66: Protein digestion
Why digest the protein?
Accuracy of mass measurements
Suitability
Sensitivity
Good activity both in gel digestion and in solution
The ideal protein digestion approach would cleave proteins at certain specific amino acid residues to yield fragments that are most compatible with MS analysis.
Peptide fragments of between 6 – 20 amino acids are ideal for MS analysis and database comparisons.
Other enzymes with more or less specific cleavage:
Chymotrypsin
Glu C (V8 protease)
Lys C
Asp N
Trypsin
Cleaves at lysine and arginine, unless either is followed by proline in C-terminal direction

## Slide 67: Protein-Protein Interactions
Proteins “work together” forming multi complexes to carry out the specific functions

## Slide 68: Identification of interactions
Computational
  Genomic data
  Phylogenetic profiling
  Gene context
  Gene fusion
  Symmetric evolution
  Structural data
  Sequence profile
  3D structural distance matrix
  Surface patches
  Binding interactions
Experimental
  x-ray crystallography
  NMR spectroscopy
  Mass spectrometry
        (Tandem affinity purification)
  Immunoprecipitation
  Yeast two-hybrid
  Microarrays

## Slide 69
Summary:
The Proteome Mining lecture covers a wide range of topics in proteomics, emphasizing the identification and analysis of proteins within biological samples. It delves into protein expression profiling, structural proteomics, and tools like mass spectrometry.
The lecture explores the life cycle of proteins, emphasizing their modular structures, post-translational modifications, and interactions.
Molecular structures, including primary and secondary structures, are discussed, along with techniques like sequence alignment.

## Slide 70
Summary:
The importance of structural alignment, functional families, and protein family classification databases is highlighted. Proteome complexity, protein heterogeneity, and various proteomics analysis workflows, including protein separation and enrichment techniques, are addressed.
The lecture also covers protein digestion, isoelectric point, and key concepts in mass spectrometry, including tandem MS and hybrid instruments. The integration of proteomics with genomics and the significance of environmental factors on the proteome are emphasized.
Overall, the lecture provides a comprehensive overview of proteome mining concepts and methodologies.

## Slide 71: References
Carson, S., Miller, H. B., Srougi, M. C., & Witherow, D. S. (2019). Molecular biology techniques: a classroom laboratory manual. Academic Press.
Craig, N. L., Green, R. R., Greider, C. C., Wolberger, C., & Storz, G. G. (2021). Molecular biology: principles of genome function. Oxford University Press, USA.
Tropp, B. E. (2012). Principles of molecular biology. Jones & Bartlett Publishers.
Robert, F. W. (2012). Molecular biology.

## Slide 72: Molecular Biology & Proteomics Mass Spectrometry In Proteomics, Two-dimensional Gel Electrophoresis, Proteomics Applications And Biomarker Discovery, Lecture 2
Name of teacher Dr. Ahmad H. Ibrahim
Molecular Biology & Proteomics
course code: PHAR 338
st Semester / 11& 12th week 17.1.2023

## Slide 73: Outline
Classical Gel Electrophoresis:
  High resolving power for visualizing thousands of protein forms.
  Quantitative analysis and identification of proteins within the proteome.
  Detection of post-translational modifications.
  Various protein fixing, staining, or blotting methods.
Detection Methods:
  General staining methods using organic dye, silver, Coomassie blue, etc.
  Radioactive labeling methods.
  Reverse stain methods.
  Fluorescence methods (e.g., Supro Ruby).
  Gel scanning for image storage in a database.
Isoelectric Point (pI):
  Proteins are amphoteric molecules with both acidic and basic functional groups.
  Isoelectric point (pI) is where the protein has no net charge.
  Protein charge depends on the pH of the solution.
2D Gel Electrophoresis:
  First dimension: Isoelectric Focusing (IEF) based on pI.
  Second dimension: Limitations include reproducibility, dynamic range, and protein heterogeneity.
  Preparative IEF and 2D Fluorescence Difference Gel Electrophoresis (DIGE) for improved resolution.

## Slide 74: Outline
Multidimensional HPLC and Mass Spectrometry (MS):
  Separation techniques and fractionation for protein analysis.
  Multidimensional Protein Identification Techniques (Mud PIT) using dissimilar separation modes.
  MS for accurate molecular mass measurements and protein identification.
Mass Spectrometry Techniques:
  MALDI (Matrix-Assisted Laser Desorption and Ionisation) and ESI (ElectroSpray Ionisation) methods.
  Time of Flight (TOF), Quadrupole, and Ion Trap mass analyzers.
  Sensitivity, resolution, and mass accuracy as figures of merit for mass analyzers.
MS/MS and Protein Identification:
  Tandem MS analysis and terminology (molecular ion, fragment ions).
  Hybrid instruments for combining mass analyzers.
  Protein identification using cross-correlation algorithms.
SELDI (Surface Enhanced Laser Desorption Ionization):
  Combination of chromatography and MALDI-TOF MS.
  Protein capture and enrichment on a chemically or bio-affinity active solid phase.
  Ideal for discovering biomarkers quickly.

## Slide 75: Objectives
1. Understanding Gel Electrophoresis:
Grasping the classical process of gel electrophoresis.
Learning about its high resolving power for visualizing protein forms.
2. Quantitative Analysis:
Understanding the use of gel electrophoresis for quantitative analysis of proteins.
Identifying proteins within the proteome.
3. Post-translational Modifications:
Recognizing the capability of gel electrophoresis in detecting post-translational modifications of proteins.

## Slide 76: Objectives
4. Protein Fixing and Staining:
Learning various protein fixing, staining, and blotting methods used in gel electrophoresis.
5. Isoelectric Point (pI):
Understanding the concept of the isoelectric point (pI) and its significance in protein charge.
6. 2D Gel Electrophoresis:
Grasping the principles of 2D gel electrophoresis, including Isoelectric Focusing (IEF) and limitations.
Exploring advanced techniques like Preparative IEF and 2D Fluorescence Difference Gel Electrophoresis (DIGE).

## Slide 77: Objectives
7. Multidimensional HPLC and Mass Spectrometry (MS):
Understanding the role of separation techniques and fractionation in protein analysis.
Grasping the principles of mass spectrometry for accurate molecular mass measurements and protein identification.
8. Mass Spectrometry Techniques:
Learning about various mass spectrometry techniques, including MALDI and ESI.
Understanding the principles of Time of Flight (TOF), Quadrupole, and Ion Trap mass analyzers.

## Slide 78: Objectives
9. MS/MS and Protein Identification:
Understanding tandem MS analysis and associated terminology.
Grasping the concept of hybrid instruments and protein identification using cross-correlation algorithms.
10. SELDI (Surface Enhanced Laser Desorption Ionization):
Understanding the principles of SELDI as a combination of chromatography and MALDI-TOF MS.
Recognizing its advantages, such as small sample requirements and quick protein mapping.

## Slide 79: Gel electrophoresis
Classical process
High resolving power: visualization of thousands of protein forms
Quantative
Identifying proteins within proteome
Up/ down regulation of proteins
Detection of post-translational modifications
Protein fixing and staining or blotting
General detection methods (staining)
Organic dye – and silver based methods Coomassie blue, Silver
Radioactive labeling methods
Reverse stain methods
Fluorescence methods (Supro Ruby)
Gel scanning
(storage of image in a database)
Coomassie blue stained gels
Silver stained
Ruby red

## Slide 80
Isoelectric point
Proteins are amphoteric molecules
i.e. they have both acidic and basic functional groups
pI= isoelectric point, is where the protein does not have any net charge
The protein charge depends on the pH of the solution.

## Slide 81: 1st dimension
A pH gradient is generated by a limited number of well defined chemicals (immobilines) which are co-polymerized with the acrylamide matrix.
Migration of proteins in a pH gradient: protein stop at pH=pI
Loading quantities (18 cm strip)
Analytical run: 50-100 μg
Micropreparative runs: 0,5 – 10 mg
Individual strips:
24,18,11,7 cm long
3 mm wide
0,5 mm thickness
Use narrow range IPG strips to focus on particular pI range
Immobilized pH gradients (IPGs)
IsoElectric Focusing, IEF

## Slide 82: 2nd dimension
pH 3
pH 10
The strip is loaded onto a SDS gel
Mw
pI
Staining !
Proteins that were separated on IEF gel are next separated in the second dimension based on their molecular weights.
Notes: SDS denaturates and lineasrises the protein (to make movement solely dependent on mass, not shape)
After solubilisation with SDS, proteins getting negatively charged. They will migrate into polyacrylamid gels to separate by sieving (SDS-PAGE)

## Slide 83: Limitations/difficulties with the 2D gel
Reproducibility
Samples must be run at least in triplicate to rule out effects from gel-to-gel variation (statistics)
Incompatibility of some proteins with the first dimension IEF step (hydrophobic proteins)
Marginal solubility leads to protein precipitation and degradation- smearing
(Glycolysation, oxidation)
Small dynamic range of protein staining as a detection technique- visualization of abundant proteins while less abundant might be missed.
Posttranscriptional control mechanisms
Co-migrating spots forming a complex region
Streaking and smearing
Weak spots and background

## Slide 84
4.5
9.5
pI
90
20
kDa
A
B
Brain Proteins
(About 3000 Spots after Coomassie Stain)
Electrophoresis, 1999, 20 (14) 2970

## Slide 85
A
B
g-enolase
Partial 2D-gel images showing g-enolase from human brain. The protein is
represented by one spot when IEF was performed on pH 3-10 non-linear IPG strips (A),
and by six spots when IEF was performed on pH 4-7 strips (B).
Protein Heterogeneity
Increased Resolution and Detection of
More Spots with the Use of Narrow pH
Gradient Strips

## Slide 86: Preparative IEF
Vacuum assisted aspiration into sample tubes
Large amount of proteins (up to 3g protein)
The protein mixture is injected into the focusing chamber
Proteins are focused as in standard IEF
The pH gradient is achieved with soluble ampholytes

## Slide 87: DIGE
Proteins are labeled prior to running the first dimension with up to three different fluorescent cyanide dyes
Allows use of an internal standard in each gel-to-gel variation, reduces the number of gels to be run
Adds 500 Da to the protein labeled
Additional postelectrophoretic staining needed
Quantification of Spot Relative Levels
2D Fluorescence Difference Gel Electrophoresis

## Slide 88
Separation by LC
Salt gradient
UV detector
EC detector
column
waste
Number of peaks indicates the complexity of starting material
Peak position (i.e. elution time) may provide qualitative information about the sample (comparison with standards)
Peak area may provide information on relative concentration of components.
If coupled to MS protein identification (MW) can be provided
Notes: UV/Vis detector
Electro chemcial detector EC
Fluorescence detector
Refractive index ( ex. sugar)

## Slide 89: Multidimensional HPLC
Mud PIT
Multidimensional Protein Identification Techniques or Tandem HPLC
the combination of dissimilar separation modes will allow a greater resolution of peptides in mixture.
Ion-exchange
Reversed phase
Reversed phase, hydrophobicity
Ion exchange, net positive/negative charge
Size exclusion, peptide size, molecular weight
Affinity chromatography, interaction with specific functional groups

## Slide 90: Multidimensional LC

## Slide 91: A Mass Spectrometer
The sample has to be introduced into the ionization source of the instrument. Once inside the ionization source the sample molecules are ionized, because ions are easier to manipulate than neutral molecules.
These ions are extracted into the analyzer region of the mass spectrometer where they are separated according to their mass (m)-to-charge (z) ratios (m/z).
The separated ions are detected and this signal sent to a data system where the m/z ratios are stored together with their relative abundance for presentation in the format of a m/z spectrum.
The analyzer and detector of the mass spectrometer, and often the ionization source too, are maintained under high vacuum to give the ions a reasonable chance of traveling from one end of the instrument to the other without any hindrance from air molecules.
source
analyzer
detector

## Slide 92: ..consists of..
Detector –detection of mass separated ions
source
analyzer
detector
MALDI, Matrix-Assisted Laser Desorption and Ionisation
ESI, ElectroSpray Ionisation
Source -produces the ions from the sample (vaporization /ionization)
Mass Anlyzer - resolves ions based on their mass/charge (m/z) ratio
Generate different, but complementary information

## Slide 93: MALDI
Matrix Assisted Laser Desorption and Ionisation
Peptides co-crystallised with matrix
Produces singly charged protonated molecular ions High throughput Single proteins
Rapid procedure, high rate of sample throughput
large scale identification (“first look at a sample”)
+
+
-
+
-
+
laser
ions
+
-
-
+

## Slide 94: TOF
Separate ions o f different m/z based on flight time
Fast
Requires pulsed ionization
Time of flight
Measures the time it takes for the ions to fly form one end to other and strike the detector.
The speed with which the ions fly down the analyzer tube is proportional to their m/z values.
The greater the m/z the faster they fly

## Slide 95: MALDI-TOF
Matrix-assisted laser desorption ionization-time of flight
+
+
-
+
-
+
+
-
-
+
Quick, easy, inexpensive
Highly tolerant to contaminents
High sensitivity
Good accuracy in mass determination
Compatible with robotic devices for high-throughput proteomics work
Best suited to measuring peptide masses
TOF analyzer
Low reproducibility and repeatability of single shot spectra (Averaging)
Low resolution
Matrix ions interfere in the low max range

## Slide 96
MALDI-TOF data
Peak List = List of masses
112.1
234.4
890.5
1296.9
1876.4
1987.5
…….
=
Every peak corresponds to the exact mass (m/z) of a peptide ion
fingerprint

## Slide 97
MALDI-TOF data
Peak List = List of masses
112.1
234.4
890.5
1296.9
1876.4
1987.5
…….
=
Every peak corresponds to the exact mass (m/z) of a peptide ion
fingerprint

## Slide 98: ElectroSpray Ionization, ESI
Voltage
Ions are generated by spraying a sample solution through a charged inlet
Produces multiply protonated molecular ions of biopolymers
++
+
++
+
+
+
++
Capillary column
Charged droplets
+
+
+
+
Peptide ions
Heated desolvation region
Nanospray needles, fine tipped gold coated needles
Single samples
Nanospray LC probe, connects directly to HPLC outlet – automated sample injection
Samples in solution
Compatible with HPLC
Complex mixtures
Tandem MS analysis
Peptide sequence

## Slide 99: Analyzers
Detector –detection of mass separated ions
source
analyzer
detector
MALDI, Matrix-Assisted Laser Desorption and Ionisation
ESI, ElectroSpray Ionisation
Source -produces the ions from the sample (vaporization /ionization)
Mass Anlyzer - resolves ions based on their mass/charge (m/z) ratio
Time of Flight, TOF
The Quadrupole, Q
Ion Trap

## Slide 100: The Quadrupole
The quadrupole consists of four parallel metal rods. Ions travel down the quadropole in between the rods.
Only ions of a certain m/q will reach the detector for a given ratio of voltages: other ions have unstable trajectories and will collide with the rods.
This allows selection of a particular ion, or scanning by varying the voltages.
source
detector
Voltage
Filters out all m/z values except the ones it is set to pass
Obtains a mass spectrum by sweeping across the entire mass range

## Slide 101: Ion Trap Mass Analyzer
Collects and store ions in order to perform MS-MS analyses on them.
Trapped ions
Ions in
Ions out
The trap consists of a top and a bottom electrode and a ring electrode around the middle.
Ions are ejected on the basis of their m/z values.
To monitor the ions coming from the source, the trap continuoulsy repeats a cylcle of filling the trap with ions and scanning the ions according to their m/z values.
Separates the mass analysis and ion isolation events in time (using a single mass analyzer)
Ionization
ion transfer/trapping
parent ion isolation/ fragmentation
daughter ion detection

## Slide 102
Note:
Ions are fragmented by collision with helium gas and their daughter ions analyzed within the trap. Selected daughter ions can undergo further fragmentation, thus allowing MSn.
This is important for structural experiments. The ion trap has a high efficiency of transfer of fragment ions to the next stage of fragmentation (unlike the triple quadrupole instrument.

## Slide 103: MS
Sensitivity amounts of proteins are limited
Resolution how well we can distinguish ion of very similar m/z values (the ability of the instrument to resolve two closely placed peaks in the mass spectrum)
Mass accuracy the measured values for the peptide ions must be as close as possible to their real values. (the relative percent difference between the measured mass and the true mass, usually represented in ppm.)
type | m/z range | Resolving power | cost
Quadrupole | 1-4000 | 1000 | $$
Ion trap | 10-4000 | 1000 | $$
Time of flight | 1-100.000 | 30.000 | $$$
Fourier transform | 18-10.000 | >100.000 | $$$$
Figures of merit for mass analyzers

## Slide 104: Mass Resolution
R = m/Δm = m/(m2-m1)
intensity
The ability of the instrument to resolve two closely placed peaks.

## Slide 105: Mass accuracy
The relative per cent difference between the measured mass and the true mass (usually represented in ppm).
(The lower the number the better the mass accuracy)

## Slide 106: MS/MS terminology
Molecular ion / precursor ion
Ion formed by ionization of the analyte species
Fragment ions / product ions
Ions formed by the gas-phase dissociation of the
molecular ion
Relative Abundance
Relative Abundance is a measure of the relative amount of ion signal recorded by the detector

## Slide 107: Hybrid instruments /Tandem MS
Combines two or more mass analyzers of the same or different types
First mass analyzer isolates the ion of interest (parent ion)
The ions are then fragmented between the first and second mass analyzer via collisions or irridation with UV light
The last mass analyzer obtains the mass spectrum of the fragments ions (daughter ions spectrum)
MS-MS spectra reveal fragmentation patterns
to provide structural information about a molecule
Protein identification by cross-correlation algorithms

## Slide 108: Q-TOF
Quadruple Time of Flight mass analyzer
Higher mass resolution, increased mass accuracies
More effectively used in software-assisted data interpretation

## Slide 109: SELDI
  Advantages of SELDI technology:
  Uses small amounts (< 1l/ 500-1000 cells) of sample (biopsies, microdissected tissue).
  Quickly obtain protein mapping from multiple samples at same conditions.
  Ideal for discovering biomarkers quickly.
Surface Enhanced Laser Desorption Ionization
A combination of chromatography (protein chips) and MALDI-TOF MS
Protein capture and enrichment on a chemically or bio affinity active solid phase surface
washing
EAM, energy absorbing molecule
Retained proteins are “eluted” from the Protein Chip array by Laser Desorption and Ionization
Ionized proteins are detected and their mass accurately determined by Time-of-Flight Mass Spectrometry

## Slide 110: The chip
Chemical Surfaces
(Hydrophobic)
(Anionic)
(Metal Ion)
(Normal Phase)
(Cationic)
(Antibody - Antigen)
(Receptor - Ligand)
(DNA - Protein)
(PS10 or PS20)
Biological Surfaces

## Slide 111: SELDI
Surface Enhanced Laser Desorption Ionization
Ionized proteins are detected and their mass accurately determined by Time-of-Flight Mass Spectrometry
High throughput
Small amounts of sample
More reproducible than 2DE, but lower resolving power
Applied for the analysis of crude samples
Process is not standardized

## Slide 112: Antibody arrays
Not discovery based
Must have 1 or 2 specific high affinity antibodies
Very high throughput
Can be highly quantitative - relative and absolute
Can design reagents to detect PTMs, splice forms

## Slide 113: Antibody array
Reverse phase
Analytes immobilized on glass substrate
Detection with Labeled Antibody
Forward phase
Sandwich assay
Direct assay
Analyte
Detection with Labeled Analyte
Detection with 2nd Antibody
Antibody immobilized on glass substrate

## Slide 114: Microarray co-expression
Expression level
Time or treatment
Gene A
Gene B
Microarray: study the expression of genes as a a function of time, or
following treatment with a drug, …
Co-expression of genes are usually a sign that the two proteins interact.

## Slide 115: X-ray crystallography
Crystals hard to obtain
Good for large proteins

## Slide 116: Nuclear Magnetic Resonance
NMR Spectroscopy
Multidimensional NMR
For proteins in solution
Better for small proteins than large ones

## Slide 117: Identification by mass spectrometry
anti-
Immunoprecipitate
SDS-PAGE
MALDI-TOF
LC-MS-MS
Peptide mixture
Protein complex
“shotgun” identification

## Slide 118: Immunoprecipitation
Immunoprecipitation of a protein of interest, analyzed by 1D-SDS-PAGE
Electrophoretically transferred to membrane, the membrane is probed with antibodies suspected as partners of the target protein
Only detects what one sets out to look for.
Western blot
undetected
Obtaining a suitable antibody is important.
The antibody might immuno-precipitate the protein successfully, but not when other interacting proteins are present.
Protein complex
Immunoprecipitation
anti-
anti-
anti-
anti-
SDS-PAGE

## Slide 119: Yeast Two-Hybrid System
Reporter Gene
Promoter Region
Binding
Domain
Bait protein
Activation
Domain
Prey protein
mRNA
The rate of false positive is high (estimated > 45%)
A transcription factor is split into 2 domains and two hybrid proteins are designed.
One protein of interest (bait) is typically fused to a DNA-binding domain.
The proteins being screened for interactions with the bait (preys) are fused to a transcription-activating domain.
An interaction between the bait and a prey will bring these 2 domains close together which in turn results in the transcription of a reporter gene.
The reporter can be:
essential, in which case the colony dies if no interaction reversely, the reporter gene can be attached to a green fluorescent protein

## Slide 120: Software for MS
        PeptIdent
        MultiIdent
        ProFound
        PepSea
        MASCOT
        MS-Fit
        SEQUEST
        PepFrag
        MS-Tag
        Sherpa
Task for students: find the appropriate url for each above mentioned tool

## Slide 121: Proteomics in human diseases

## Slide 122
Identification of diagnostic proteomic patterns
Benign
Bladder Cancer
Fingerprinting of bladder cancer
Combination of protein extract
+
+
+
+
Laser
Flight tube
Application of bioinformatics tools
(feature extraction, classification algorithms)
Disease classification
blood/urine
LC
MALDI-TOF/TOF

## Slide 123: Gene Ontology
A knowledge representation about the word or some part of it.
An ontology is used as a description of the concepts and relationships that exist for a community of agents.
Ontology generally describes:
  Individuals: the basic or “ground level” objects
  Classes: sets, collections, or types of objects
  Attributes: properties, features, characteristics, or parameters that objects can have and share
  Relations: ways that objects can be related to one another

## Slide 124: Goals
www.geneontology.org
Develop a set of controlled, structured vocabularies – gene ontology (GO) to describe aspects of molecular biology
Describe gene products using vocabulary terms (annotation)
Provide a public resource, allowing access to the GO, annotations and software tools developed for use with the GO data

## Slide 125
Molecular Function — describes activities, or tasks, performed by individual or by assembled complexes of gene products.
DNA binding, transcription factor
Biological Process — a series of events accomplished by one or more ordered assemblies of molecular functions.
NOT a “pathway”!
mitosis, signal transduction, metabolism
Cellular Component — location or complex , a component of a cell, that also is part of some larger object
nucleus, ribosome, origin recognition complex
The Three Ontologies

## Slide 126
Relationships between terms
Directed acyclic graph: each child may have one or more parents
Every path from a node back to the root must be biologically accurate (the true path rule)
Relationship types:
is_a; class-subclass relationship, meaning that a is a type of b
Exemple: nuclear chromosome is_a chromosome.
part_of :physical part of (component) subprocess of (process)
part_of c part_ of d, meaning that whenever c is present, it is a part of d, but c doesn’t always have to be present.
Example: nuleus part_of cell ; meaning that nuclei are always part of a cell, but not all cells have nuclei.

## Slide 127: Relationships between terms
Example:
the biological process term hexose biosynthesis has two parents, hexose metabolism and monosaccaride biosynthesis. This is because biosynthesis is a subtype of metabolism, and a hexose is a subtype of monosaccharide.
When any gene involved in hexose biosynthesis is annotated to this term, it is automatically annotated to both hexose metabolsim and monosaccharide biosynthesis, because every GO term must obey the “true path rule”, if the child term deescribes the gene product, then all its parent terms must also apply to that gene product..

## Slide 128: Evidence codes
IC: Inferred by Curator
IDA: Inferred from Direct Assay
IEA: Inferred from Electronic Annotation
IEP: Inferred from Expression Pattern
IGC: Inferred from Genomic Context
IGI: Inferred from Genetic Interaction
IMP: Inferred from Mutant Phenotype
IPI: Inferred from Physical Interaction
ISS: Inferred from Sequence or Structural Similarity
NAS: Non-traceable Author Statement
ND: No biological Data available
RCA: Inferred from Reviewed Computational Analysis
TAS: Traceable Author Statement
NR: Not Recorded
Notes: IEA - IC - IDA - Enzyme assays
In vitro reconstitution (e.g. transcription)
Immunofluorescence (for cellular component)
Cell fractionation (for cellular component)
Physical interaction/binding
IGC – IEP –
Transcript levels (e.g. Northerns, microarray data)
Protein levels (e.g. Western blots)
Operon structure
Syntenic regions
Pathway analysis
Genome-scale analysis of processes
IGI -
"Traditional" genetic interactions such as suppressors, synthetic lethals, etc.
Functional complementation
Rescue experiments
Inference about one gene drawn from the phenotype of a mutation in a different gene.
IMP -
Any gene mutation/knockout
Overexpression/ectopic expression of wild-type or mutant genes
Anti-sense experiments
RNAi experiments
Specific protein inhibitors
Polymorphism or allelic variation
IPI -
2-hybrid interactions
Co-purification
Co-immunoprecipitation
Ion/protein binding experiments
ISS –
Sequence similarity (homologue of/most closely related to)
Recognized domains
Structural similarity
Southern blotting
RCA -
Large-scale protein-protein interaction experiments
Microarray experiments
Integration of large-scale datasets of several types
Text-based computation

## Slide 129: Gene Ontology Home

## Slide 130: GO tools
search for gene products and view the terms with which they are associated;
search or browse the ontology for GO terms of interest and see term details and gene product annotations.
AmiGO also provides a BLAST search engine, which searches the sequences of genes and gene products that have been annotated to a GO term and submitted to the GO Consortium.

## Slide 131: Annotation tools

## Slide 132: ReBIL

## Slide 133: Gene expression tools

## Slide 134
Summary:
The lecture on Gel Electrophoresis and Mass Spectrometry in Proteome Mining covers key aspects of protein analysis techniques. Gel electrophoresis is explored for its classical process, high resolving power, and quantitative analysis capabilities, aiding in the identification of proteins within the proteome. Post-translational modifications and protein fixing/staining methods are discussed.
The concept of the isoelectric point (pI) and its role in protein charge is introduced. Two-dimensional gel electrophoresis, including Isoelectric Focusing (IEF), is explained along with advanced techniques like Preparative IEF and 2D Fluorescence Difference Gel Electrophoresis (DIGE).

## Slide 135
Summary:
Multidimensional High-Performance Liquid Chromatography (HPLC) and mass spectrometry (MS) are explored for their significance in separating proteins and providing accurate mass measurements. Various mass spectrometry techniques, including MALDI and ESI, are discussed, along with mass analyzers such as TOF, Quadrupole, and Ion Trap.
The lecture covers MS/MS analysis, tandem MS, and protein identification using cross-correlation algorithms. The principles of hybrid instruments and Surface Enhanced Laser Desorption Ionization (SELDI) are explained, highlighting SELDI's advantages, including small sample requirements and quick protein mapping.
By achieving these objectives, the lecture covered a comprehensive understanding of gel electrophoresis and mass spectrometry techniques, enabling effective application in protein analysis and identification within the proteome.

## Slide 136: References
Carson, S., Miller, H. B., Srougi, M. C., & Witherow, D. S. (2019). Molecular biology techniques: a classroom laboratory manual. Academic Press.
Craig, N. L., Green, R. R., Greider, C. C., Wolberger, C., & Storz, G. G. (2021). Molecular biology: principles of genome function. Oxford University Press, USA.
Tropp, B. E. (2012). Principles of molecular biology. Jones & Bartlett Publishers.
Robert, F. W. (2012). Molecular biology.