## Slide 1: PAP SMIRE & SWAB TEST
Presented by:
Shaimaa Shahab

## Slide 2: WHAT IS PAP SMEAR TEST?
Pap smear also called pap test is a screening procedure (cytological test) for Cearvical Cancer.
The specimen should be obtained 2 weeks after the first day of LMP taken by brushing or scraping.

## Slide 3: PURPOSE
To detect early cancer of the cervix or for the precancerours or concerous cell on the cervix.

## Slide 4: NOTE!
Guidelines recommended that women get regular pap smears every three years strating at age 21.
Human papilloma virus (HPV) : is the most common sexually transmitted infection, that causes warts and increase the chance of cervical cancer.
The test it maybe mildly uncomfortable , but dose not usually cause any long-term pain.

## Slide 5
Some women maybe at increased risk for cancer or infection , they may need more frequent pap test if:
They are HIV - positive
They have a weakened immune system from chemotherapy.
Smoking.

## Slide 6: Tips
Make sure that the lady not in a period cycle , it may affect the result .
Avoid sexual intercourse two days before the test.
should not take any antibiotics 24 hours before procedure .

## Slide 7: Who can consider stopping Pap smears?
Age 70 and "adequate recent screening.
Three consecutive negative pap smears.
No abnormal pap smears in last 10 years.
Hysterectomy for benign lesion.

## Slide 8
Cervical cancer risk factors

## Slide 9: Instruments for pap smear
• Examination table with foot supports
• Examination light
• Metal or plastic speculum
• Examination gloves
• Cervical spatula and cytobrush
• Liquid-based cytology container.
• Slide and fixative

## Slide 10: Metal and plastic Cusco Speculum

## Slide 12: Vaginal swab
Vaginal swab is a ( biological test) to obtain a sample of vaginal discharge for microscopy and for culture and sensitivity testing.

## Slide 13: Purpose
Vaginal swab tests are generally done to detect various infections such as Candidiasis, Bacterial vaginosis and Trichomonas vaginalis that affect the vagina.

## Slide 14
Done without speculum:
Insert the swab into the lower part of the vagina (about two inches ).
Gently but firmly rotate swab for 10- 30 seconds in the vaginal walls .
1. Lower vaginal swab:

## Slide 15: 2. Endocervical swab:
Rotate the swab for (1 sweep 360 deegre), screens for Gonorrhaea OR ( in and out ) tapping screens for Chlamydia.

## Slide 16: 3.High-vaginal swab:
Starting from lateral fornix to postrior fornix to the other lateral fornix.