## Slide 1
Introduction of Microbiology Lab
Instructor: Adam Jalal Mohammed
Email: adam.jalal@tiu.edu.iq
Tishk International University
Faculty of Applied Science
Nutrition and Dietetics Department
Food Microbiology /1st Lab
2nd Grade / Spring Semester
Food Microbiology
2025 - 2026

## Slide 2: Definition of Microbiology
Microbiology is a branch of biology which is dealing with microorganisms and their effects on other living organisms
Meaning of Microbiology:
Micro: very small
Bio: living organisms
Logy: the study of.
Microbiology is the study of very small living organisms (microorganisms)
Food Microbiology
2025 - 2026

## Slide 3: Branches of Microbiology
Bacteriology: study of bacteria
Phycology: study of various types of algae
Virology: study of viruses
Mycology: study of fungi
Parasitology: is the study of parasites
Food Microbiology
2025 - 2026

## Slide 4: Importance of Microbiology
Production of antibiotic.
Diagnosis of disease and treatment.
Sterilization (process of killing microorganisms)
Eg: moist heat sterilization, dry heat sterilization
Identification of microorganisms. Eg: morphological, cultural or microscopic study.
Food Microbiology
2025 - 2026

## Slide 5: Tools in Microbiology lab
Microbiology laboratories use a variety of tools and equipment for studying microorganisms, experiments, and analyzing samples.
common tools and equipment found in a microbiology laboratory:
Food Microbiology
2025 - 2026

## Slide 6: Inoculation Needle & Inoculation Loop.
These are used to transfer microorganisms from one culture to another or to streak samples on agar plates.
Even smaller amount of liquid culture can be manipulated by using straight needle
Food Microbiology
2025 - 2026

## Slide 7: Bunsen burner
These gas burners are used to sterilize metal inoculating loops and needles by passing them through a flame
Food Microbiology
2025 - 2026

## Slide 8: Water bath
Water bath is an instrument that is used to provide constant temperature to a sample.
It consists of an insulating box made up of steel fitted with electrode heating coil
Food Microbiology
2025 - 2026

## Slide 9: Laminar air flow chamber
Laminar flow cabinets are used in laboratories for contamination sensitive processes like plant tissue culture.
Other laboratories processes like media plate preparation and culture of organisms can be performed inside the cabinet.
Food Microbiology
2025 - 2026

## Slide 10: Incubator
These are used to maintain a controlled temperature for the growth of microorganisms, typically at 37°C for bacteria and 25°C for fungi
Food Microbiology
2025 - 2026

## Slide 11: Microscope
A good microscope is an essential tool for any microbiology laboratory.
There are many kinds of microscopes but the type most useful in diagnostic work is the compound microscope
Food Microbiology
2025 - 2026

## Slide 12: Autoclave
Autoclaves are used to sterilize equipment, media, and culture vessels by subjecting them to high-pressure steam at temperatures above 121°C
Food Microbiology
2025 - 2026

## Slide 13: Petri dish
Petri dishes are shallow, flat, cylindrical lidded dishes used for growing microorganisms on solid agar media
Food Microbiology
2025 - 2026

## Slide 14: Agar
Agar is a gel-like substance used in microbiology to grow microorganisms. It is made from red seaweed and is mixed with nutrients to provide food for bacteria and fungi. When heated, agar melts, and when cooled, it solidifies, forming a firm surface. It is used because most microbes cannot break it down, it stays solid at incubation temperatures, and it allows scientists to observe microbial growth clearly.
Food Microbiology
2025 - 2026

## Slide 15: Refrigerators and Freezers
These are used for storing culture stocks, reagents, and samples at specific temperatures to preserve their viability.
Food Microbiology
2025 - 2026

## Slide 16: Centrifuge
Are used to separate components of a sample based on their density through rapid spinning.
Food Microbiology
2025 - 2026

## Slide 17: Personal protective equipment (PPE)
lab coats, gloves, safety glasses, and masks are essential for protecting laboratory personnel
Food Microbiology
2025 - 2026